
LED Outdoor Wash Light

60X10W RGBW 4in1 LED
[image: image1.png]



USER MANUAL

Thank you very much for choosing our product. For safety purpose, please read this manual carefully before your operation. This manual included installation and using information. Please install and operate it according to this manual.

Part 1 PRDUCT 

Product introduction

This product is designed for indoor/outdoor use. Suitable applications include wash or effect lighting for architectural, stage or nightclub applications. This product can also be installed for use in signage and advertising using the dynamic functions available with DMX512 control. Direct input of DMX512 signal allows the units to be controlled from any DMX512 controller. This product can be operated as a single unit or in multiple units for large applications. 

1.2 Technical Specifications

Voltage: AC100-240V, 50/60Hz

Power: 650W

Light Source: 60X10W RGBW 4in1 LED

IP Rating: IP65

Lifespan: around 100,000 hours

Housing: Die-casting aluminum, powder-coated finish

Control: DMX 512, 4/6/9CH

Control Mode: DMX, Auto, Master/Slave mode
Dimmer: 0-100% 

Strobe: 0-20Hz

Beam angle: 25º 

N.W: 16KG
1.3 Safety Warning

IMPORTANT:

ALWAYS READ THE USER MANUAL BEFORE OPERATION. PLEASE CONFIRM THAT THE POWER SUPPLY STATED ON THE PRODUCT IS THE SAME AS THE MAINS POWER SUPPLY IN YOUR AREA.

● This product must be installed by a qualified professional.

● Always operate the equipment as described in the user manual.

● A minimum distance of 0.5m must be maintained between the equipment and combustible surface.

● The product must always be placed in a well ventilated area.

● Always make sure that the equipment is installed securely.

● DO NOT stand close to the equipment and stare directly into the LED light source.

● Always disconnect the power supply before attempting and maintenance.

● Always make sure that the supporting structure is solid and can support the combined weight of the products.

● The earth wire must always be connected to the ground.

● Do not touch the power cables if your hands are wet.

ATTENTION:
● This product left the place of manufacture in perfect condition. In order to maintain this condition and for safe operation, the user must always follow the instructions and safety warnings described in this user manual.

● Avoid shaking or strong impacts to any part of the equipment.

● Make sure that all parts of the equipment are kept clean and free of dust.

● Always make sure that the power connections are connected correct and secure.

● If there is any malfunction of the equipment, contact your distributor immediately.

● When transferring the product, it is advisable to use the original packaging in which the product left the factory.
● Shields, lenses or ultraviolet screens shall be changed if they have become damaged to such an extent that their effectiveness is impaired.

● The lamp (LED) shall be changed if it has become damaged or thermally deformed.

PART 2  INSTALLATION
2.1 Mounting:

2.1-1 Hanging

The product can be mounted in a hanging position using the supporting bracket. The bracket should be secured to the mounting truss or structure using a standard mounting clamp. Please note that when hanging the unit a safety cable should also be used

.

2.1-2 Upright

The product can be mounted in an upright or sitting position using the supporting brackets.

NOTE:

The product can be mounted at any angle and in any position. It is possible to further adjust the angle of the product using the two adjustment knobs located on the side of the fixture.

2.2 DMX Channel instruction
	4CH 
	6CH
	9CH
	Function 
	Value
	Instruction 

	
	1
	1
	Dimmer 
	0-255
	Dimmer, from dark to bright 

	
	2
	2
	Strobe 
 
	0-12
	No function

	
	
	
	
	13-255
	Strobe from slow to fast

	1
	3
	3
	Red Dimming 
	0-255
	Red Dimming, from dark to bright 

	2
	4
	4
	Green Dimming 
	0-255
	Green Dimming, from dark to bright 

	3
	5
	5
	Blue Dimming 
	0-255
	Blue Dimming, from dark to bright 

	4
	6
	6
	White Dimming 
	0-255
	White Dimming, from dark to bright 

	
	
	7
	Color Selection
	0-31
	No function

	
	
	
	
	32-63
	Red

	
	
	
	
	64-95
	Green

	
	
	
	
	96-127
	Blue

	
	
	
	
	128-159
	White

	
	
	
	
	160-191
	Red+Green

	
	
	
	
	192-223
	Red+Blue

	
	
	
	
	224-255
	Green+Blue

	
	
	8
	Macro Function
	0-50
	No function

	
	
	
	
	101-150
	Color Change

	
	
	
	
	151-200
	Color Gradual

	
	
	
	
	201-255
	Color Pulse

	
	
	9
	Speed
	0-255
	Speed from slow to fast


4/6/9 Channel Mode
2.3 Special construction for DMX connection

☆ At last fixture, the DMX cable has to be terminated with a terminator to reduce signal errors. Solder a 120-ohm 1/4W resistor between pin 2(DMX-) and pin 3(DMX+) into a 3-pin XLR-plug and plug it in the DMX-output of the last fixture.

☆ If the controller is 5-pin output, it’s necessary to use an adaptor to transfer signal from 5-pin output to 3-pin XLR-plug or you can connect cables as following:

[image: image2.jpg]3-PIN TO 5-PIN CONRERSION CHART

Conductor 3 Pin Female (OQutput) 5 Pin Male (Input)
Ground/Shiele Pin 1 Pin 1
Data (-) signal Pin 2 Pin 2
Data (+) signal Pin 3 Pin 3

Not used Pin 4

Not used Pin 5





PART 3 Display Panel Operation

3.1 Display panel menu instruction

[image: image3.png]buto

+ 30

Settlng Language Info





[MENU] menu selection or return to previous menu.

[ENTER] confirm current function setting.

[UP] press [UP] through the menu list to increase/change the value of 

the current function.

[DOWN] press [DOWN] through the menu list to decrease/change the value of the current function.

 Display Menu instruction (general)

	Main Menu
	Sub-Menu1
	Sub-Menu2
	Instruction

	Address
	001-512
	
	DMX address,

001-512

	Manual
	Red
	000-255
	Red Brightness

000-255

	
	Green
	000-255
	Green Brightness

000-255

	
	Blue
	000-255
	Blue Brightness

000-255

	
	White
	000-255
	White Brightness

000-255

	
	Dimmer
	000-255
	Dimmer,000-255

	
	Strobe
	000-255
	Strobe, speed 000-255

	Auto
	7 color
	000-099
	7 colors change

	
	7 fade
	000-099
	7 colors fade

	
	7 breathe
	000-099
	7 color pulse

	
	Strobe 1
	000-099
	Strobe 1

	
	Strobe 2
	000-099
	Strobe 2

	Setting
	DMX Person
	4CH/6CH/

9CH
	Channel mode: 4CH

 /6CH/9CH

	
	Display INV
	ON
	Display Inverse ON

	
	
	OFF
	Display Inverse OFF

	
	Back light
	OPEN
	Back light keep

opening

	
	
	30S
	Back light 30S OFF

	
	
	60S
	Back light 60S OFF

	
	Dimmer Mode
	DIM1
	Dimmer mode 1

	
	
	DIM2
	Dimmer mode 2

	
	
	DIM3
	Dimmer mode 3

	
	
	DIM4
	Dimmer mode 4

	
	Fan Mode
	AUTO
	Fan Auto

	
	
	HIGH
	Fan high speed

	
	
	LOW
	Fan low speed

	
	KEY Lock
	OFF
	Key Lock OFF

	
	
	ON
	Key Lock ON, After

turn ON this function,

enter the password UP

DOWN UP DOWN UP

DOWN UP DOWN then

press ENTER to enable

key operation 

	
	Default
	NO
	Factory Reset NO

	
	
	YES
	Factory Reset YES

	Language
	English
	
	Language English

	
	中文
	
	Language Chinese

	Info
	VER:02
	
	Software version

	
	RUN TIME
	
	Running time


PAGE  
1

